|  |
| --- |
| **Annex 1. Item SpecificationsCold Boxes | UNFPASDNRFQCHS0721014** |
| **#** | **Item** | **UoM** | **Quantity** | **Description and minimum /mandatory specifications** | **Model Picture** | **DESCRIPTION of items offered**TO BE COMPLETED BY THE BIDDER | **DIFFERENCE with specifications requested by UNFPA**TO BE COMPLETED BY THE BIDDER |
| 1 | **Cold Box** | Piece | 10 | Cold Box for keeping medical and pharmaceutical products cold during transportation. Suitable for use by health workers. Capacity 15 ltr Materials: Polyethylene With a minimum cold life of 48 hours at 43°C ambient temperature. Icepacks included |  |  |   |