United Nations Population Fund,

UNFPA Sudan

UNFPA Sudan Country Office, Khartoum

House No.386 Block 1/S, Almanshia

Sudan

Website: www.unfpa.org

Date: 06/09/2021

Request for Quotation No. UNFPA/SDN/RFQ/ICTSERV/08/21/019

Dear Sir/Madam,

We hereby solicit your quotation for the supply of inverters and batteries + rack mount uninterruptable power supply and the equipment installation service technically specified below, along with their AIR/SEA shipment to, if applicable, Khartoum, Sudan.

| # | Item | Specifications | Quantity |
| --- | --- | --- | --- |
| 1 | Inverter and batteries | -Inverter 5 KVA and batteries to hold the load of (4 kVA) for 45 min -3 Years Warranty | 1 |
| 2 | Rack mount UPS | -Rack Mount Three- phase UPS with 5 kVA Output -Wide Input voltage window -Internal Auto and manual Bypass -SNMP Card slot -3 Years Warranty | 2 |
| 3 | Installation services | Installation to take place upon delivery of the items |  |

The quotation shall be valid at least for 30 days after the closing date.

If you are interested in submitting a quotation for these items, kindly fill in the attached Quotation Form “Annex 1” and send by email to the address indicated below:

Sudan.office@unfpa.org

Sending your offer to any email other than the aforementioned email will cause your bid to be disqualified automatically.

Please submit your quotation in SDG/USD currency. Conversion of currency into the UNFPA preferred currency, if the offer is quoted differently from what is required; it shall be based only on UN Operational Exchange Rate prevailing at the time of competition deadline.

The currency of payment can be US Dollar (USD) or Sudanese Pound (SDG). If payment is executed in US Dollar (USD), it is the Bidder’s responsibility to own a bank account in US Dollar (USD) registered in the name of the company and be authorized to receive electronic transfer (EFT) in US Dollar (USD).

A purchase order will be rewarded to the lowest bid technically compliant to the specifications detailed above in this RFQ document.

Partial biding will not be accepted for the tender

Your earliest response to this query would be highly appreciated, but not later than Thursday 09/09/2021 @12:00 PM (Khartoum/Sudan time).

Please reach out to Eng. Zeinelabdeen Wageallah (wagallah@unfpa.org) +249927277181 for any technical assistance before the closure of the bidding period mentioned above.

Note: Current UNFPA supplier policies apply to this solicitation and can be found at: http://www.unfpa.org/suppliers.

Please see the following annexes attached:

-ANNEX.1 - Quotation form to be filled signed and stamped by the bidder.

Best regards,

Abdalrahman Hussain

For procurement and bidding assistance, please contact

Abdalrahman Hussain

Tel. No. +249916095630

Email: Abhussain@unfpa.org

For technical assistance, please contact:

Mr. Zeinelabdeen Wageallah – ICT Associate

wagallah@unfpa.org

+249927277181